## Quotation Format
Core Network (Fiber cabling system & rack) components
To
International Centre for Genetic Engineering and Bio Technology,
Aruna Asaf Ali Marg,
New Delhi - 110 067
S. No | Item Description | Quantity | Unit of Measure (Pcs/Pkt/KG/Ltr/mtr/etc) | Basic Rate (Per Unit) | Discount (per Unit) | Net Rate (per Unit) | VAT / Service Tax (%) | Total Cost (Per Unit) (inclusive of taxes) | Amount
|  | (x) |  | (a) | (b) | c = (a - b) | d | e = (c + d) | f = (x * e)
1 | Network Rack
a | 42U,Open Network Rack :19'X81''X42U Floor Standing Two post Aluminium Rack-Network 8''WDX84''H Hight Density vertical Cable manager Front & Back (PVC)With Door -Network | 1 | Nos | 0 | 0 | 0 | 0 | 0 | 0
b | Rack Support Ladder 6 mtr With Accessories | 6 | Mtrs | 0 | 0 | 0 | 0 | 0 | 0
c | Horizontal PDU 6 Socket | 4 | Nos | 0 | 0 | 0 | 0 | 0 | 0
d | 1U PVC Horizontal Cable Manager | 8 | Nos | 0 | 0 | 0 | 0 | 0 | 0
e | 15U Close Rack 600Wx600D With Accessories | 3 | Nos | 0 | 0 | 0 | 0 | 0 | 0
2 | Fibres Component (Proprietary)
a | 24 Port Fiber Liu Unloaded, Part No. 17.C102G, Make-Molex | 1 | nos | 0 | 0 | 0 | 0 | 0 | 0
b | 12 Port Liu (Blankar ), Part No.- AFR-00174, Make-Molex | 6 | nos | 0 | 0 | 0 | 0 | 0 | 0
c | 12 Port Fiber Liu Unloaded, Part No.- 17.C102G, Make-Molex | 4 | nos | 0 | 0 | 0 | 0 | 0 | 0
d | MM LC Pigtail 1.5 mtr., Part No.- 91.L0.332.00B00`, Make-Molex | 72 | nos | 0 | 0 | 0 | 0 | 0 | 0
e | MM Duplex LC Adaptor , Part No.- 18282-0052, Make- Molex | 36 | nos | 0 | 0 | 0 | 0 | 0 | 0
f | MM LC to LC Duplex Patch Cords 3 mtr., Part No.- 91.LL.372.00300, Make- Molex | 18 | nos | 0 | 0 | 0 | 0 | 0 | 0
g | MM SC to LC Duplex Patch Cords 5 mtr. For Wall Mount Liu, Part No. 91.9L.372.00500, make-Molex | 1 | nos | 0 | 0 | 0 | 0 | 0 | 0
h | MM Indoor Fiber Cable OM3 Mtr., Part No. AFOIZ006OM3, Make- Molex | 480 | mtr | 0 | 0 | 0 | 0 | 0 | 0
3 | Local Materials
a | PCV 25 mm Conduit | 220 | Mtrs | 0 | 0 | 0 | 0 | 0 | 0
b | PVC 25 mm Flexible (1Bundle) | 1 | Bundle | 0 | 0 | 0 | 0 | 0 | 0
c | 25 mm Shaddle | 2 | Pkt | 0 | 0 | 0 | 0 | 0 | 0
d | Screw 35x8 | 5 | Pkt | 0 | 0 | 0 | 0 | 0 | 0
e | Hole fastener | 16 | Nos | 0 | 0 | 0 | 0 | 0 | 0
f | PVC Gitty | 5 | Pkt | 0 | 0 | 0 | 0 | 0 | 0
g | Cable Tie | 4 | Pkt | 0 | 0 | 0 | 0 | 0 | 0
h | Velcro 10 Mtr. | 1 | Mtrs | 0 | 0 | 0 | 0 | 0 | 0
i | Lable Sheet LIU & Pach Cords | 4 | Nos | 0 | 0 | 0 | 0 | 0 | 0
4 | Installation, Testing & Commissioning
a | Fiber Cable laying | 480 | Mtr | 0 | 0 | 0 | 0 | 0 | 0
b | Laying of Conduit | 220 | Mtr | 0 | 0 | 0 | 0 | 0 | 0
c | Splice of fiber Core | 72 | core | 0 | 0 | 0 | 0 | 0 | 0
d | 15U Rack Mount in Wall | 3 | nos | 0 | 0 | 0 | 0 | 0 | 0
e | 42 Rack Fixing in floor & Ladder Fixing | 1 | nos | 0 | 0 | 0 | 0 | 0 | 0
f | Old Rack Desmental | 3 | Nos | 0 | 0 | 0 | 0 | 0 | 0
g | Labeling of Liu | 5 | Nos | 0 | 0 | 0 | 0 | 0 | 0
h | Project Management & Documentation | 1 | nos | 0 | 0 | 0 | 0 | 0 | 0
i | Configuration & Implementation of Switches | 1 | Nos | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Grand Total INR |  | 0
Note:- Approved Make for Network Rack with accessories: MTS/Netrack/Valrack/Rittal. Network Rack & accessories must be the same OEM or approved by the OEM.
TO BE FILLED BY VENDOR
Date of Quotation _____________________________________ |  | Service Tax / TIN / VAT No. ____________________________________
Validity of Quotation - ________ Days |  | Other Terms (Please Specify) _____________________
Delivery Terms - in _________ Days |  | Payment Terms - within 30 days from the receipt of Invoice
Name of the Vendor ______________________
Note:
1. All Columns are mandatory , in complete quotation will be treated as null and void. | [8 empty] | Signature with Seal