Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

**BOQ for chemical earthing**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.No.** | **Work Details** | **Qty/ Area** | **Unit Cost** | **Total Cost** |
|  | Copper Earthing System (100% EC Grade Electrolytic Copper - NO Copper Coated) |  |  |  |
| 1. | Supply,Installation & Testing of 350 Cu (Pipe-in-Pipe Technology) EC Grade Copper Earthing.Spec: 3 mtr Long/50 mm dia/2 mm wall thickness /Terminal-32 x 6 mm EC Grade K Type Electrolytic Copper Earthing 92-97% Purity .Nutral to earth voltage should be below one volt in 1000 KVA load. | 2 |  |  |
| 2. | Supply & Installation of Heavy Duty Polyplatic Pit Cover. | 2 |  |  |
| 3. | Making of Earthpit by Drilling Machine of size 10feet x 5inches | 2 |  |  |
| 4. | Supply & Installation of CU Strip of Size 25mm x 3mm | 20 mt |  |  |

**NOTE: KINDLY INSPECT THE SITE BEFORE SUBMITTED THE TENDER**

* Total Cost of work: \_\_\_\_\_\_\_\_\_
* GST: \_\_\_\_\_\_\_\_\_
* Time required for completion of work: \_\_\_\_\_\_\_\_\_
* Validity of this quotation: \_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Seal: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Mr. Varun Gugnani).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 011(R)/2018’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Friday, 13th July, 2018**.