Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

**BOQ for replacement of the damaged metal sink unit in Bioenergy lab, new building**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S. No** | **Item Description** | **Quantity** | **Unit of Measure** | **Unit Cost** | **Total Amount** |
| 1. | Removing of the existing damaged iron cabinet with sink, replacement of the same with new SS cabinet (grade 304), granite top, new SS sink (grade 304), new tap and required fittings. Depth of the sink: 10 inches  Size: 70” x 30” x 24” | 1 | Pcs |  |  |
| 2. | Removing of the existing iron cabinet with sink, replacement of the same with new MS cabinet, new SS sink (grade 304), new tap and required fittings. Depth of the sink: 10 inches Size: 24” x 18” x 10” | 5 | Pcs |  |  |

* Total Cost of work: \_\_\_\_\_\_\_\_\_
* GST: \_\_\_\_\_\_\_\_\_
* Time required for completion of work: \_\_\_\_\_\_\_\_\_
* Validity of this quotation: \_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Seal: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Ms. Gita Prakash / Mr. Prashant Kumar).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 006/2018’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Thursday, 29th March, 2018**.