Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Repairing of central AC plant cooling towers** | | | | | |
| **S.NO** | **DESCRIPTION** | **UNIT** | **Qty** | **Rate** | **total amount** |
| 1 | Supply and installation of C channels size 6"x 3"(150mm x 75 mm) make Jindal/sail and repairing of cooling tower base, welding and painting of replaced channels as required. | Meter | 18 |  |  |
|  |  |  |  |  |  |

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Ms. Gita Prakash / Mr. Joby John).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 003/2018’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Wednesday, 7th March, 2018**.