## Inventory items
Inventory items
S.No | Scientific Equipment | Inventory No. | Remarks | Status
1 | Dako flow cytometer | ICGEB/ VIR/107042 | Stores | Not repairable
2 | laser diode | ICGEB/VIR/108767/ICO1/SJ/09/310 | Stores | obsolete
3 | BioRad power pack/supply Model 200/2.0 | ICGEB/PMB/101037 | Stores | Not repairable
4 | APC 5KVA Online UPS (SURT 5000 uxi) | ICGEB/GH/108275 | Stores | Not repairable
5 | photocopier IR2002 Canon | ICGEB/PT/104219 | Stores | obsolete
6 | Thermo -80.c deep freezer | ICGEB/Vir/100091 | back side near emory | Not repairable
7 | Ice flaker SF300 | ICGEB/SB/100286 | back side near emory | Not repairable
8 | Samsung 29" Plano Flat colour TV | ICGEB/GH/105404 | Stores | spares not available
9 | Sony TV | ICGEB/GH/104914 | Stores | spares not available
10 | Thermo -80.c deep freezer | ICGEB/MAL/100189 | gnd mal lab | Not repairable
11 | Referigerator | ICGEB/ADMIN/102134 | back side near emory | spares not available
12 | Eppendorf Centrifuge 5415R | ICGEB/PMB/101538 | Stores | Beyond economical repair
13 | Godrej Pentacool 400lts refereigerator | ICGEB/PST/101005 | Gnd corridor back side | Not repairable
14 | Haeraus Microbiological Incubator | ICGEB/PST/101092 | Gnd corridor back side | Not repairable
15 | 98133 Quartz Single Distillation Unit QS-30 3 LTRS. | ICGEB/RGP/100789 | First floor back side | Not repairable
16 | CFB 3120 Mini Optical Realtime PCR Detector + Software | ICGEB/RGP/101444 | First floor back side | Not repairable
17 | Gene Amp PCR System | ICGEB/RGP/100803 | First floor back side | Not repairable
18 | 078539 Magnetic Stirrer | IGEB/RGP/101664 | First floor back side | Not repairable
19 | 9000705- Ultra Pure Water System water Pro PS HPLC/UF Hybrid Polishing station | ICGEB/RGP/109600 | First floor back side | Not repairable
20 | Ultima II -86 deg. Freezer + Accessories | ICGEB/RGP/100707 | First floor back side | Not repairable
21 | 78500- Rotor (F14S-6x250y) | ICGEB/RGP/108754 | First floor back side | Not repairable
22 | SI-2101- Rotator Genei, Standard Platform (Genei) | ICGEB/RGP/109404 | First floor back side | Not repairable
23 | Power Supply PS-500XT | ICGEB/RGP/10778 | First floor back side | Not repairable
24 | Gene Amp PCR System | ICGEB/RGP/106589 | First floor back side | Not repairable
25 | Mini Cold Lab 1KB | ICGEB/RGP/100107 | First floor back side | Not repairable
26 | Referigerator | ICGEB/RGP/109981 | First floor back side | Not repairable
27 | Tecan Elisa Washer | ICGEB/RGP/109408 | First floor back side | Not repairable
28 | Ref centrifuge X3R | ICGEB/RGP/108769 | First floor back side | Not repairable
29 | Eppendorf Centrifuge 5415R | ICGEB/RGP/107930 | First floor back side | Not repairable

## Sheet1 (hidden)
S.No | Scientific Equipment | Inventory No. | Remarks | Status
1 | Autoclave | ICGEB/VIR/108466 | Given under buy back | end of life as it is more than 10 years old and non-functional
2 | Autoclave | ICGEB/PMB/108467 | Given under buy back | end of life as it is more than 10 years old and non-functional
3 | Elix 10 water system | ICGEB/PMB/100928-A | given under buy back | end of life as it is more than 10 years old and non-functional
4 | Milli Q biocel water system | ICGEB/PMB/100928 | given under buy back | end of life as it is more than 10 years old and non-functional