Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

**REPAIR OF THE DAMAGED FALSE CEILING IN DR. NEETI ‘S LABORATORY**

**BOQ**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.No.** | **Work Details** | **Qty/ Area** | **Unit Cost** | **Total Cost** |
| 1. | Removing all the existing Gypsum boards from the ceiling, strengthening of the existing aluminum support (by increasing the quantity as appropriate) of members (metal frames to hold gypsum boards) to make it stronger (by fixing additional members as required), re-fixing of the undamaged Gypsum boards and providing and fixing new Gypsum boards as replacement of the damaged boards, to make the ceiling perfect. The work includes painting of the surface with OBD paint complete with preparation of base for the same.. | 2350 sq ft. |  |  |

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Ms. Gita Prakash / Mr. Prashant Kumar).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 005/2017’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Monday, 30th October, 2017**.