Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

**BOQ of repairing the rice greenhouse**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.No.** | **Description** | **Unit of Measure** | **Unit Cost** | **Total Amount** |
| 1. | Dismantling of existing cement plaster | 2000 Sqft. |  |  |
| 2. | Repair of chajja and making proper floor with slope in cement concreate.  (1 : 4 : 8) | 50 Rft. |  |  |
| 3. | Plastering of all internal surface of rice green house (1 cement : 4 sand) complete with water proofing including scaffolding, labour and material. | 2000 Sqft. |  |  |
| 4. | Making of gola (semi-circle curve) around rice green house building to keep rain water away from the building 5”x5” (size) with cement and jeera rodi, mixed with water proofing compound complete. | 130 Rft. |  |  |

* Total Cost of work: \_\_\_\_\_\_\_\_\_
* GST: \_\_\_\_\_\_\_\_\_
* Time required for completion of work: \_\_\_\_\_\_\_\_\_
* Validity of this quotation: \_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Seal: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Ms. Gita Prakash / Mr. Prashant Kumar).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 008/2018’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Friday, 27th April, 2018**.