Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

**REPAIRING OF THE BOUNDARY WALL (ICGEB-NIPGR) NEXT TO THE MAIN GATE AND CORRECTING THE EXISTING STORM-WATER DRAIN LINE FOR THE INTERNAL ROAD OF ICGEB**

**BOQ**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.No.** | **Work Details** | **Qty/ Area** | **Unit Cost** | **Total Cost** |
| 1. | Cleaning of the damaged stretch of the boundary wall (ICGEB-NIPGR wall next to the main gate), making the surface rough to receive 40 mm badarpur-cement plaster with (1:6) ratio. The work includes curing the surface, and water proofing with water proofing compound. The work should be complete in all respects. | 750 sq ft. |  |  |
| 2. | Cleaning and filling of manhole (next to the road in the first main parking from the Emory-lab side) with stone & concrete and laying 4” CPVC pipe from 1st parking (from Emory-lab side) to the main building reception drain outlet. The work includes breaking of road, making proper surface to provide slope for the pipe and all other related work. | 90 running ft. |  |  |
| 3. | Correcting the drain outlets in the area after the guard house (near the main gate) for proper drainage of the storm water that accumulates in the said area, towards the STP plant. | 4 Nos |  |  |
| 4. | Cleaning and disposal of rubble/waste material (malba) from the work place on daily basis. | Lump-sum |  |  |

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Ms. Gita Prakash / Mr. Prashant Kumar).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 004/2017’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Wednesday, 25th October, 2017**.