Work, as mentioned below, requires to be carried out at the International Centre for Genetic Engineering and Biotechnology, Aruna Asaf Ali Marg, New Delhi – 110 067.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S. No** | **Item Description** | **Quantity** | **Unit of Measure** | **Unit Cost** | **Total Amount** |
| 1 | Replacement of fire Hose Door - Outside Auditorium. Size- 4ft x 2ft x 7ft (LXBXH) | 1 | Pcs |  |  |
| 2 | Replacement of fire Hose Door - Outside back side lab gate, Outside reception and in front of Animal house.Size- 3ft x 1ft x 2ft (LXBXH) | 3 | Pcs |  |  |
| 3 | Repair of fire Hose Door- Back side corridor lab side Ground Floor. | 1 | Pcs |  |  |
| 4 | Fixing of Rubber Beading | 100 | mtr |  |  |
| 5 | Paint of all fire hose doors. | 1 | Pcs |  |  |
| 6 | Replacement of angle frame for new fire near animal house. | 2 | Pcs |  |  |
|  |  |  |  |  |  |

Interested contractors are requested to visit the site before submitting their quotes.

The quote should be inclusive of all charges i.e. the cost of material, tools, labour, transport etc. GST should be quoted separately.

For site visit and any further clarifications, you may visit ICGEB on any working day (Monday to Friday) between 9.30 a.m. to 5 p.m. (contact person Mr. Varun Gugnani).

Quotations should be submitted in a sealed envelope, clearly marked as **‘ND quotation for work at ICGEB, New Delhi Component 007/2017’**. Kindly ensure that this identification number is also mentioned on the quotation. The sealed envelope, with the quotation, should bear the official stamp of the bidder, both on front of the envelope and across the seal of the envelope. The sealed envelope with the quotation should be placed in a further sealed envelope and submitted to:

The Component Manager

ICGEB

Aruna Asaf Ali Marg

New Delhi – 110 067

**The quotation should be submitted latest by Wednesday, 18th October, 2017**.