## Sheet1
96/384 Well Handheld Pipetting System
Specifications | Creteria Matching (Yes/No) | Remarks
· Hand held pipette station with full color screen and touch wheel controlled graphical user interface, without the use of additional computer/device.
· Servo motors assisted pipette’s movement minimizing the risk of repetitive strain injury (RSI).
· System should accommodate Interchangeable Pipetting heads for different application, with volume ranges (0.5~ 1250µL).
· Pipetting head should be in volume range of 10 – 300 µl
· Tip system provides a reliable sealing of every attached tip and guarantee that tips will not fall off.
· System should be accompanied with 150ml capacity base trays, reservoirs and the sterile lids (all automation friendly)
· The 300ul tips both in racked form as well as bulk packs need to be separately quoted
· Electronic tip loading & ejection.
· Predefined pipetting modes like Repeat Dispense, Sample Dilute, Pipet/Mix (30 times), Manual Pipette, Reverse Pipette, Variable Dispense, Sample Dilute/Mix & Serial Dilute.
· 20 personalized custom programs with 98 steps each.
· Suitable for replication and reformatting of 96 and 384 well plates.
· Small footprint; fits inside a laminar flow for sterile applications.
· Optional: Spring Loaded Plate Holders with slide function, for 384 well applications and plate reformatting.
· Should have Three Position Stage Plate Holder Suitable for 96 and 384 well applications
· Optional plate cooling system and plate holder for row wise serial dilution.
· Warranty- 5 years .
Electronic Multichannel Pipettes
Specifications | Creteria Matching (Yes/No) | Remarks
· 8, and 16 channel electronic pipettes with high precision and accuracy.
· Volume ranges for 16-channel should be 0.5~12.5 µl and 5~125 µl, and for 8-channel it must be 10~300 µl
· Ergonomic design with full color screen for user-friendly menu navigation and touch wheel controlled graphical user interface. The touch wheel (instead of push button) help to avoid RSI (repeat stress injury).
· The pipettes must be accompanied with a 4-capacity charging stand which should be quoted separately
· The systems must come along with both racked and bulk tips packs of 12.5ul, 125ul and 300ul
· Predefined pipetting modes like Repeat Dispense, Sample Dilute, Pipet/Mix (30 times), Manual Pipette, Reverse Pipette, Variable Dispense, Sample Dilute/Mix & Serial Dilute.
· 40 personalized custom programs with 98 steps each.
· The operating Software- provided free of cost, with upgrades. Custom programs can be designed in the PC/Laptop and transferred to the Vision pipette by using optional accessories.
· Calibration reminder in either months or number of cycles.
· Colour coded Pipettes & grip-tip box for correct tip selection.
· Tip system provides a reliable sealing of every attached tip and guarantee that tips will not fall off during lateral tip touch.
· Tri-lobe tip fitting ensure that tips snap into place to deliver the highest lateral resistance.
· Tip seal and stopper ensures that every tip attaches the same way (angle & height) each and every time.
· GripTips snap into place with minimal tip loading effort, providing a secure connection. GripTips never fall off and are always perfectly aligned, resulting in superior accuracy and precision results.
· 9 speeds of aspiration & dispensing.
· Option of discarding first & last dispense for accuracy.
· The multi-channel electronic pipettes can integrate with the related pipetting platform to become a low throughput, semi-automated liquid handling platform.