## Sheet1
Specifications for Microscope | Creteria Matching (Yes/NO) | Remarks
LED illumination
Eye piece 10x
Objective lenses- 4x, 10x, 40x and 100x
Coarse and fine focusing
Observations methods- Brightfield, Darkfield
Halogen- 30W or more
Provision for camera
Warranty - 5 Years
Three End User performance certificate must be attached in the technical bids for similar quoted model.
AMC and CMC prices must be quoted separately for next 5 years after completion of five year warranty.
Spares/ Consuambles required for the instrument must be quoted and shall be valid for two years.