## Sheet1
CONVENTIONAL FIRE ALARM SYSTEM - GREEN HOUSE
Description | Model | Make | Qty | Unit Rate (Supply) | Amount (Supply) | Unit Rate (Installation) | Amount (Installation)
Optical smoke detector with base, having bi colour LED (blinking type)- LPCB Approved. | Series 65 | Apollo Series | 20
Manual call point with Chain & Hammer, MS housing.(24V). | AD 101 | Agni Devices | 1
Sounder, MS housing.(24v). | AD-501 | Agni Devices | 1
Armound Cable Per mtr. | AGF 10 | AGF 10 | 200mtr
New green house must be linked with Existing Green house Oriel 12 Zone panel.
Total Amount
CONVENTIONAL FIRE ALARM SYSTEM - OLD BUILDING AC PLANT
Description | Model | Make | Qty | Unit Rate (Supply) | Amount (Supply) | Unit Rate (Installation) | Amount (Installation)
Optical smoke detector with base, having bi colour LED (blinking type)- LPCB Approved | Series 65 | Apollo Series | 12
Manual call point with Chain & Hammer, MS housing.(24V) | AD 101 | Agni Devices | 1
Sounder, MS housing.(24v) | AD-501 | Agni Devices | 1
Armound Cable Per mtr | AGF 10 | AGF 10 | 500
AC Plant room must be linked with Existing Coventional main building Oriel 32 Zone panel.
Total Amount
ADDRESSABLE FIRE ALARM SYSTEM - Substation
Description | Model | Make | Qty | Unit Rate (Supply) | Amount (Supply) | Unit Rate (Installation) | Amount (Installation)
Addressable Optical smoke detector with base, having bi colour LED (blinking type)- LPCB Approved | C+ | Apollo Series | 55
Addressable Sounder, 24v DC operated | C+ | Apollo Series | 3
Armound Cable Per mtr | AGF 10 | AGF 10 | 600
Substation area must be linked with Existing Addressable new building Fire alarm system Model: Context plus.
Total Amount
Note Kindly inspect the site before submitting the quote.