## Sheet1
Trinocular stereozoom microscpe with polarizer
S.No | Specifications | Criteria Matching (Yes/No) | Remarks
1 | Trinocular body w/ integrated camera port, with adapter for c–mount lenses, wide stage area for holding trays -transillumination base -wide enough to hold 96-well micro plates, 24-well VDX-plates and glass sandwich lipidic cubic phases (LCP) plates. Integrated cold led transmission lighting, Durable manual focus drive
2 | Cross-polarization for birefringence analysis (with rotatable analyzer and polarizer).
3 | Illumination Base: Thin and wide to hold crystallization plates mentioned above.
4 | Optics: parallel-optics zoom system. With LED transmitted illuminator with average life of 10,000 hrs and continuous variable light intensity adjustment and with provision of built in oblique coherent contrast.
5 | Total magnification: 5x-480x with eyepiece & objective combination: 10 x eyepieces and 1.0x and 2x objectives. Note: to be able to visualize micro crystals of 1-5 microns.
6 | Eyepiece tube: Trinocular eye piece tube with inclination 15º or better for fatigue free viewing.
7 | Interpupillary distance: 50 -70 mm or better
8 | Eyepiece:10x with diopter adjustment on both eyes. Must have inbuilt scale to measure crystal size.
9 | Zoom ratio: 12:1
10 | Nosepiece: Dual objective nosepiece to accommodate two objectives same time.
11 | Objectives: Plan apochromat 1.0x & 2x. Easily interchangeable without dismounting.
12 | Polarizer / analyzer attachment: Polarizer and analyzer attachment for polarizing observation.
13 | Dust cover: 1
14 | User list must attached in the technical bid
15 | Warranty - 5 Years
Optional item
Optional: 5-6 Megapixel Camera